## Instructions
Instructions for using the analysis worksheets Important notes: 1. Data cells are yellow. You can change and input values in these cells. 2. Formulas cells are gray or white. Please do not touch these cells. They contain formulas for calculation use. 3. A set of sample data is displayed for illustration purpose. Follow the instruction and replace sample data with your array info and experimental Ct values. 4. To ensure the best performance, use GeneCopoeia recommended and supported reagents. Test sample data: input test sample Ct values 1. Yellow cells: copy and paste your test sample Ct values by clicking “paste special” then selecting “paste values” 2. Up to 10 replicated samples’ Ct values can be uploaded Control sample data: input control sample Ct values 1. Yellow cells: copy and paste your control sample Ct values by clicking “paste special” then selecting “paste values” 2. Up to 10 replicated samples’ Ct values can be uploaded Normalization: choose housekeeping genes 1. Yellow cells: type the gene symbols of housekeeping (HK) genes that will be used for normalization. 2. Up to 20 HK genes can be used. Results: display fold difference 1. The fold changes of the differential expression (test vs. control) are displayed here automatically. 2. T-test p values will be automatically displayed if sample replicates are included. 3D plot: Illustrate fold difference in 3D 1. Up-regulation: z-axis values >1 2. Down-regulation: z-axis values <1 3. The title of each axis can be changed by clicking and editing it Scatter plot: Display fold change with defined threshold 1. Graphs the expression level ((2 ^ (-ΔCt)) of each gene (control vs. test). 2. Black line: indicates fold change ((2 ^ (-ΔΔCt)) of 1, which means no change. 3. Yellow cell: enter and define your desired threshold of fold change. 4. Pink line: indicates the desired threshold of fold change. 5. The scale and title of each axis can be adjusted and edited by clicking and reformatting it. 6. Note: ΔCt = Ct (GOI) – avg. (Ct (HKG)). GOI stands for each gene of interest. HKG stands for the housekeeping genes. Volcano plot: Display fold change with defined threshold and p-value 1. Yellow cells: define threshold of fold change and p-value 2. Black line: indicates fold change of 1. 3. Pink line: indicates the desired threshold of fold change 4. Blue line: indicates the desired p value of the t-test threshold. 5. The scale and title of each axis can be adjusted and edited. QC report: display the analysis of array control wells 1. Display analysis of PCR, RT and NC control wells.

## Gene Table
PCR Array Catalog #: |  | QM007
Position | Catalog No. | Mature miRNA accession No. | Mature miRNA ID
A01 | HmiRQP0044 | MIMAT0000416 | hsa-miR-1
A02 | HmiRQP0227 | MIMAT0000069 | hsa-miR-16-5p
A03 | HmiRQP0094 | MIMAT0000443 | hsa-miR-125a-5p
A04 | HmiRQP0096 | MIMAT0000423 | hsa-miR-125b-5p
A05 | HmiRQP0192 | MIMAT0000437 | hsa-miR-145-5p
A06 | HmiRQP0208 | MIMAT0000450 | hsa-miR-149-5p
A07 | HmiRQP0354 | MIMAT0000082 | hsa-miR-26a-5p
A08 | HmiRQP0373 | MIMAT0000100 | hsa-miR-29b-3p
A09 | HmiRQP0857 | MIMAT0000689 | hsa-miR-99b-5p
A10 | HmiRQP0316 | MIMAT0000076 | hsa-miR-21-5p
A11 | HmiRQP0319 | MIMAT0000269 | hsa-miR-212-3p
A12 | HmiRQP0349 | MIMAT0000080 | hsa-miR-24-3p
B01 | HmiRQP0099 | MIMAT0000445 | hsa-miR-126-3p
B02 | HmiRQP0186 | MIMAT0000434 | hsa-miR-142-3p
B03 | HmiRQP0188 | MIMAT0000435 | hsa-miR-143-3p
B04 | HmiRQP0280 | MIMAT0000460 | hsa-miR-194-5p
B05 | HmiRQP0283 | MIMAT0000461 | hsa-miR-195-5p
B06 | HmiRQP0307 | MIMAT0000266 | hsa-miR-205-5p
B07 | HmiRQP0342 | MIMAT0000280 | hsa-miR-223-3p
B08 | HmiRQP0404 | MIMAT0000090 | hsa-miR-32-5p
B09 | HmiRQP0440 | MIMAT0000255 | hsa-miR-34a-5p
B10 | HmiRQP0002 | MIMAT0000062 | hsa-let-7a-5p
B11 | HmiRQP0010 | MIMAT0000066 | hsa-let-7e-5p
B12 | HmiRQP0012 | MIMAT0000067 | hsa-let-7f-5p
C01 | HmiRQP0018 | MIMAT0000098 | hsa-miR-100-5p
C02 | HmiRQP0854 | MIMAT0000097 | hsa-miR-99a-5p
C03 | HmiRQP0190 | MIMAT0000436 | hsa-miR-144-3p
C04 | HmiRQP0444 | MIMAT0000686 | hsa-miR-34c-5p
C05 | HmiRQP0278 | MIMAT0002819 | hsa-miR-193b-3p
C06 | HmiRQP0497 | MIMAT0001536 | hsa-miR-429
C07 | HmiRQP0486 | MIMAT0003329 | hsa-miR-411-5p
C08 | HmiRQP0334 | MIMAT0000277 | hsa-miR-220a
C09 | HmiRQP0305 | MIMAT0000264 | hsa-miR-203
C10 | HmiRQP0416 | MIMAT0001629 | hsa-miR-329
C11 | HmiRQP0451 | MIMAT0000710 | hsa-miR-365a-3p
C12 | HmiRQP0336 | MIMAT0004915 | hsa-miR-220c
D01 | HmiRQP0335 | MIMAT0004908 | hsa-miR-220b
D02 | HmiRQP0494 | MIMAT0001341 | hsa-miR-424-5p
D03 | HmiRQP0245 | MIMAT0000454 | hsa-miR-184
D04 | HmiRQP0210 | MIMAT0000451 | hsa-miR-150-5p
D05 | HmiRQP0346 | MIMAT0000418 | hsa-miR-23b-3p
D06 | HmiRQP0412 | MIMAT0000761 | hsa-miR-324-5p
D07 | HmiRQP0488 | MIMAT0002170 | hsa-miR-412
D08 | HmiRQP0443 | MIMAT0004677 | hsa-miR-34c-3p
D09 | HmiRQP0093 | MIMAT0004602 | hsa-miR-125a-3p
D10 | HmiRQP0414 | MIMAT0000756 | hsa-miR-326
D11 | HmiRQP0411 | MIMAT0000762 | hsa-miR-324-3p
D12 | HmiRQP0287 | MIMAT0000227 | hsa-miR-197-3p
E01 | HmiRQP0007 | MIMAT0000065 | hsa-let-7d-5p
E02 | HmiRQP0298 | MIMAT0000682 | hsa-miR-200a-3p
E03 | HmiRQP0469 | MIMAT0002172 | hsa-miR-376b
E04 | HmiRQP0184 | MIMAT0000432 | hsa-miR-141-3p
E05 | HmiRQP0312 | MIMAT0000075 | hsa-miR-20a-5p
E06 | HmiRQP0300 | MIMAT0000318 | hsa-miR-200b-3p
E07 | HmiRQP0322 | MIMAT0000272 | hsa-miR-215
E08 | HmiRQP0306 | MIMAT0000265 | hsa-miR-204-5p
E09 | HmiRQP0302 | MIMAT0000617 | hsa-miR-200c-3p
E10 | HmiRQP0006 | MIMAT0000064 | hsa-let-7c
E11 | HmiRQP0004 | MIMAT0000063 | hsa-let-7b-5p
E12 | HmiRQP0375 | MIMAT0000681 | hsa-miR-29c-3p
F01 | HmiRQP0286 | MIMAT0001080 | hsa-miR-196b-5p
F02 | HmiRQP0359 | MIMAT0000084 | hsa-miR-27a-3p
F03 | HmiRQP0344 | MIMAT0000078 | hsa-miR-23a-3p
F04 | HmiRQP0289 | MIMAT0000232 | hsa-miR-199a-3p
F05 | HmiRQP0439 | MIMAT0004557 | hsa-miR-34a-3p
F06 | HmiRQP0299 | MIMAT0004571 | hsa-miR-200b-5p
F07 | HmiRQP0001 | MIMAT0004481 | hsa-let-7a-3p
F08 | HmiRQP0003 | MIMAT0004482 | hsa-let-7b-3p
F09 | HmiRQP0005 | MIMAT0004483 | hsa-let-7c*
F10 | HmiRQP0008 | MIMAT0004484 | hsa-let-7d-3p
F11 | HmiRQP0009 | MIMAT0004485 | hsa-let-7e-3p
F12 | HmiRQP0011 | MIMAT0004486 | hsa-let-7f-1-3p
G01 | HmiRQP0019 | MIMAT0004512 | hsa-miR-100-3p
G02 | HmiRQP0187 | MIMAT0004599 | hsa-miR-143-5p
G03 | HmiRQP0191 | MIMAT0004601 | hsa-miR-145-3p
G04 | HmiRQP0301 | MIMAT0004657 | hsa-miR-200c-5p
G05 | HmiRQP0311 | MIMAT0004493 | hsa-miR-20a-3p
G06 | HmiRQP0341 | MIMAT0004570 | hsa-miR-223-5p
G07 | HmiRQP0345 | MIMAT0004496 | hsa-miR-23a-5p
G08 | HmiRQP0347 | MIMAT0004587 | hsa-miR-23b-5p
G09 | HmiRQP0348 | MIMAT0000079 | hsa-miR-24-1-5p
G10 | HmiRQP0353 | MIMAT0004499 | hsa-miR-26a-1-3p
G11 | HmiRQP0376 | MIMAT0004673 | hsa-miR-29c-5p
G12 | HmiRQP0493 | MIMAT0004749 | hsa-miR-424-3p
H01 | NC | NC | NC
H02 | NC | NC | NC
H03 | HmiRQP9001 | NR_002752 | HK1
H04 | HmiRQP9011 | NR_002750 | HK2
H05 | HmiRQP9021 | NR_002745 | HK3
H06 | HmiRQP9051 | NR_002746 | HK4
H07 | HmiRQP9061 | NR_002744 | HK5
H08 | HmiRQP9071 | NR_002450 | HK6
H09 | RT | RT | RT
H10 | RT | RT | RT
H11 | PCR | PCR | PCR
H12 | PCR | PCR | PCR

## Test Sample Data
Symbol | Well | Test Sample | [11 empty] | Ct Range | Distribution of Ct Values | [9 empty] | AVG | STD
|  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | AVG | SD |  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10
hsa-miR-1 | A01 | [12 empty] | <25 | [10 empty] | #DIV/0! | #DIV/0!
hsa-miR-16-5p | A02 | [12 empty] | 25-30 | [10 empty] | #DIV/0! | #DIV/0!
hsa-miR-125a-5p | A03 | [12 empty] | 30-35 | [10 empty] | #DIV/0! | #DIV/0!
hsa-miR-125b-5p | A04 | [12 empty] | Absent Calls | [10 empty] | #DIV/0! | #DIV/0!
hsa-miR-145-5p | A05 | [12 empty] | Percent Distribution of Ct Values
hsa-miR-149-5p | A06 | [12 empty] | <25 | [10 empty] | #DIV/0! | #DIV/0!
hsa-miR-26a-5p | A07 | [12 empty] | 25-30 | [10 empty] | #DIV/0! | #DIV/0!
hsa-miR-29b-3p | A08 | [12 empty] | 30-35 | [10 empty] | #DIV/0! | #DIV/0!
hsa-miR-99b-5p | A09 | [12 empty] | Absent Calls | [10 empty] | #DIV/0! | #DIV/0!
hsa-miR-21-5p | A10
hsa-miR-212-3p | A11
hsa-miR-24-3p | A12
hsa-miR-126-3p | B01
hsa-miR-142-3p | B02
hsa-miR-143-3p | B03
hsa-miR-194-5p | B04
hsa-miR-195-5p | B05
hsa-miR-205-5p | B06
hsa-miR-223-3p | B07
hsa-miR-32-5p | B08
hsa-miR-34a-5p | B09
hsa-let-7a-5p | B10
hsa-let-7e-5p | B11
hsa-let-7f-5p | B12
hsa-miR-100-5p | C01
hsa-miR-99a-5p | C02
hsa-miR-144-3p | C03
hsa-miR-34c-5p | C04
hsa-miR-193b-3p | C05
hsa-miR-429 | C06
hsa-miR-411-5p | C07
hsa-miR-220a | C08
hsa-miR-203 | C09
hsa-miR-329 | C10
hsa-miR-365a-3p | C11
hsa-miR-220c | C12
hsa-miR-220b | D01
hsa-miR-424-5p | D02
hsa-miR-184 | D03
hsa-miR-150-5p | D04
hsa-miR-23b-3p | D05
hsa-miR-324-5p | D06
hsa-miR-412 | D07
hsa-miR-34c-3p | D08
hsa-miR-125a-3p | D09
hsa-miR-326 | D10
hsa-miR-324-3p | D11
hsa-miR-197-3p | D12
hsa-let-7d-5p | E01
hsa-miR-200a-3p | E02
hsa-miR-376b | E03
hsa-miR-141-3p | E04
hsa-miR-20a-5p | E05
hsa-miR-200b-3p | E06
hsa-miR-215 | E07
hsa-miR-204-5p | E08
hsa-miR-200c-3p | E09
hsa-let-7c | E10
hsa-let-7b-5p | E11
hsa-miR-29c-3p | E12
hsa-miR-196b-5p | F01
hsa-miR-27a-3p | F02
hsa-miR-23a-3p | F03
hsa-miR-199a-3p | F04
hsa-miR-34a-3p | F05
hsa-miR-200b-5p | F06
hsa-let-7a-3p | F07
hsa-let-7b-3p | F08
hsa-let-7c* | F09
hsa-let-7d-3p | F10
hsa-let-7e-3p | F11
hsa-let-7f-1-3p | F12
hsa-miR-100-3p | G01
hsa-miR-143-5p | G02
hsa-miR-145-3p | G03
hsa-miR-200c-5p | G04
hsa-miR-20a-3p | G05
hsa-miR-223-5p | G06
hsa-miR-23a-5p | G07
hsa-miR-23b-5p | G08
hsa-miR-24-1-5p | G09
hsa-miR-26a-1-3p | G10
hsa-miR-29c-5p | G11
hsa-miR-424-3p | G12
NC | H01
NC | H02
HK1 | H03
HK2 | H04
HK3 | H05
HK4 | H06
HK5 | H07
HK6 | H08
RT | H09
RT | H10
PCR | H11
PCR | H12
Note: If there are fewer than 3 data points, the standard deviation (SD) will appear as "N/A".

## Control Sample Data
Symbol | Well | Control Sample | [11 empty] | Ct Range | Distribution of Ct Values | [9 empty] | AVG | STD
|  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | AVG | SD |  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10
hsa-miR-1 | A01 | [12 empty] | <25 | [10 empty] | #DIV/0! | #DIV/0!
hsa-miR-16-5p | A02 | [12 empty] | 25-30 | [10 empty] | #DIV/0! | #DIV/0!
hsa-miR-125a-5p | A03 | [12 empty] | 30-35 | [10 empty] | #DIV/0! | #DIV/0!
hsa-miR-125b-5p | A04 | [12 empty] | Absent Calls | [10 empty] | #DIV/0! | #DIV/0!
hsa-miR-145-5p | A05 | [12 empty] | Percent Distribution of Ct Values
hsa-miR-149-5p | A06 | [12 empty] | <25 | [10 empty] | #DIV/0! | #DIV/0!
hsa-miR-26a-5p | A07 | [12 empty] | 25-30 | [10 empty] | #DIV/0! | #DIV/0!
hsa-miR-29b-3p | A08 | [12 empty] | 30-35 | [10 empty] | #DIV/0! | #DIV/0!
hsa-miR-99b-5p | A09 | [12 empty] | Absent Calls | [10 empty] | #DIV/0! | #DIV/0!
hsa-miR-21-5p | A10
hsa-miR-212-3p | A11
hsa-miR-24-3p | A12
hsa-miR-126-3p | B01
hsa-miR-142-3p | B02
hsa-miR-143-3p | B03
hsa-miR-194-5p | B04
hsa-miR-195-5p | B05
hsa-miR-205-5p | B06
hsa-miR-223-3p | B07
hsa-miR-32-5p | B08
hsa-miR-34a-5p | B09
hsa-let-7a-5p | B10
hsa-let-7e-5p | B11
hsa-let-7f-5p | B12
hsa-miR-100-5p | C01
hsa-miR-99a-5p | C02
hsa-miR-144-3p | C03
hsa-miR-34c-5p | C04
hsa-miR-193b-3p | C05
hsa-miR-429 | C06
hsa-miR-411-5p | C07
hsa-miR-220a | C08
hsa-miR-203 | C09
hsa-miR-329 | C10
hsa-miR-365a-3p | C11
hsa-miR-220c | C12
hsa-miR-220b | D01
hsa-miR-424-5p | D02
hsa-miR-184 | D03
hsa-miR-150-5p | D04
hsa-miR-23b-3p | D05
hsa-miR-324-5p | D06
hsa-miR-412 | D07
hsa-miR-34c-3p | D08
hsa-miR-125a-3p | D09
hsa-miR-326 | D10
hsa-miR-324-3p | D11
hsa-miR-197-3p | D12
hsa-let-7d-5p | E01
hsa-miR-200a-3p | E02
hsa-miR-376b | E03
hsa-miR-141-3p | E04
hsa-miR-20a-5p | E05
hsa-miR-200b-3p | E06
hsa-miR-215 | E07
hsa-miR-204-5p | E08
hsa-miR-200c-3p | E09
hsa-let-7c | E10
hsa-let-7b-5p | E11
hsa-miR-29c-3p | E12
hsa-miR-196b-5p | F01
hsa-miR-27a-3p | F02
hsa-miR-23a-3p | F03
hsa-miR-199a-3p | F04
hsa-miR-34a-3p | F05
hsa-miR-200b-5p | F06
hsa-let-7a-3p | F07
hsa-let-7b-3p | F08
hsa-let-7c* | F09
hsa-let-7d-3p | F10
hsa-let-7e-3p | F11
hsa-let-7f-1-3p | F12
hsa-miR-100-3p | G01
hsa-miR-143-5p | G02
hsa-miR-145-3p | G03
hsa-miR-200c-5p | G04
hsa-miR-20a-3p | G05
hsa-miR-223-5p | G06
hsa-miR-23a-5p | G07
hsa-miR-23b-5p | G08
hsa-miR-24-1-5p | G09
hsa-miR-26a-1-3p | G10
hsa-miR-29c-5p | G11
hsa-miR-424-3p | G12
NC | H01
NC | H02
HK1 | H03
HK2 | H04
HK3 | H05
HK4 | H06
HK5 | H07
HK6 | H08
RT | H09
RT | H10
PCR | H11
PCR | H12
Note: If there are fewer than 3 data points, the standard deviation (SD) will appear as "N/A".

## Choose Housekeeping Genes
Housekeeping Gene Symbol | Well | Test Sample | [9 empty] | Housekeeping Gene Symbol | Well | Control Sample
|  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 |  |  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10
HK1 | H03 | [10 empty] | HK1 | H03
HK2 | H04 | [10 empty] | HK2 | H04
HK3 | H05 | [10 empty] | HK3 | H05
HK4 | H06 | [10 empty] | HK4 | H06
HK5 | H07 | [10 empty] | HK5 | H07
| AVG | [11 empty] | AVG

## QC Report
Overview of the PCR Array Performance and Quality Control | [7 empty] | Test Sample = |  |  | Test Sample
PCR Array Catalog Number: |  | QM007 | [5 empty] | Control Sample = |  |  | Control Sample
1. PCR Array Reproducibility:
Test Sample
Well | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | AVG exp(1-10) | ST DEV exp(1-10)
Average Ct (PCR) | [10 empty] | #DIV/0! | #DIV/0!
ST DEV Ct (PCR) | [10 empty] | #DIV/0! | --
Average Ct (RTC) | [10 empty] | #DIV/0! | #DIV/0!
ST DEV Ct (RTC) | [10 empty] | #DIV/0! | --
Control Sample
Well | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | AVG exp(1-10) | ST DEV exp(1-10)
Average Ct (PCR) | [10 empty] | #DIV/0! | #DIV/0!
ST DEV Ct (PCR) | [10 empty] | #DIV/0! | --
Average Ct (RTC) | [10 empty] | #DIV/0! | #DIV/0!
ST DEV Ct (RTC) | [10 empty] | #DIV/0! | --
2. RTC:
Test Sample
Well | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10
AVG RTC
RT Efficiency
Control Sample
Well | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10
AVG RTC
RT Efficiency
3. PPC:
Test Sample
Well | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10
AVG PPC
PPC Efficiency
Control Sample
Well | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10
AVG PPC
PPC Efficiency
4. NC:
Test Sample
Well | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10
Ct (NC)
Negative Control:
Control Sample
Well | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10
Ct (NC)
Negative Control:

## Results
Symbol | Well | AVG ΔCt (Ct(GOI) - Ave Ct (HKG)) |  | 2^-ΔCt |  | Fold Change | T-TEST | Fold Up- or Down-Regulation | Comments
|  | Test Sample | Control Sample | Test Sample | Control Sample | Test Sample /Control Sample | p value | Test Sample /Control Sample
hsa-miR-1 | A01 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-16-5p | A02 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-125a-5p | A03 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-125b-5p | A04 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-145-5p | A05 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-149-5p | A06 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-26a-5p | A07 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-29b-3p | A08 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-99b-5p | A09 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-21-5p | A10 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-212-3p | A11 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-24-3p | A12 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-126-3p | B01 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-142-3p | B02 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-143-3p | B03 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-194-5p | B04 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-195-5p | B05 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-205-5p | B06 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-223-3p | B07 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-32-5p | B08 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-34a-5p | B09 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-let-7a-5p | B10 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-let-7e-5p | B11 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-let-7f-5p | B12 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-100-5p | C01 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-99a-5p | C02 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-144-3p | C03 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-34c-5p | C04 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-193b-3p | C05 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-429 | C06 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-411-5p | C07 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-220a | C08 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-203 | C09 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-329 | C10 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-365a-3p | C11 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-220c | C12 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-220b | D01 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-424-5p | D02 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-184 | D03 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-150-5p | D04 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-23b-3p | D05 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-324-5p | D06 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-412 | D07 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-34c-3p | D08 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-125a-3p | D09 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-326 | D10 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-324-3p | D11 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-197-3p | D12 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-let-7d-5p | E01 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-200a-3p | E02 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-376b | E03 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-141-3p | E04 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-20a-5p | E05 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-200b-3p | E06 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-215 | E07 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-204-5p | E08 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-200c-3p | E09 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-let-7c | E10 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-let-7b-5p | E11 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-29c-3p | E12 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-196b-5p | F01 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-27a-3p | F02 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-23a-3p | F03 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-199a-3p | F04 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-34a-3p | F05 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-200b-5p | F06 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-let-7a-3p | F07 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-let-7b-3p | F08 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-let-7c* | F09 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-let-7d-3p | F10 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-let-7e-3p | F11 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-let-7f-1-3p | F12 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-100-3p | G01 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-143-5p | G02 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-145-3p | G03 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-200c-5p | G04 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-20a-3p | G05 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-223-5p | G06 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-23a-5p | G07 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-23b-5p | G08 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-24-1-5p | G09 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-26a-1-3p | G10 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-29c-5p | G11 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
hsa-miR-424-3p | G12 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
NC | H01 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
NC | H02 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
HK1 | H03 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
HK2 | H04 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
HK3 | H05 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
HK4 | H06 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
HK5 | H07 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
HK6 | H08 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
RT | H09 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
RT | H10 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
PCR | H11 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
PCR | H12 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | OKAY
Notes:
Fold Change (Column G)
The fold change is calculated using the normalized gene expression (2^(- ΔCt)) of the Test Sample (column E) divided by the normalized gene expression (2^(- ΔCt)) of the Control Sample (column F).
P Values (Column H)
The p values are calculated based on the Student’s t-test of the normalized gene expression values (2^(- ΔCt)) of each gene replicates in the Control Group and Test Group.
p values less than 0.05 are indicated in red.
Fold Up- or Down-Regulation (Column I)
The fold-regulation represents the biological meaning of the fold-change:
If the fold-change (column G) equals to 1, it means there is no up- or down-regulation.
If the fold-change is greater than 1, it indicates up-regulation. The up-regulation value (column I) is the same as the fold-change value (column G).
If the fold-change is less than 1, it indicates down-regulation. The down-regulation value is the negative inverse of the fold-change value.
The fold-change and fold-regulation greater than 2 are labeled in red.
The fold-change less than 0.5 and fold-regulation less than -2 are labeled in blue.
Comments (Column J)
OKAY: This gene’s average Ct value is 30 or less for both Control and Test Samples.
TYPE 1: This gene’s average Ct value is relatively high (>30) in one of the sample types (Control or Test) but low in the other (Test or Control), suggesting its low expression in one of the two sample types may impact the fold-change calculation. Its fold-change may have greater variations if p value is > 0.05. Therefore, it is important to validate the result by using a sufficient number of biological replicates.
TYPE 2: This gene’s average Ct value is relatively high (> 30) in both Control and Test Samples, meaning low expression in both samples. The p-value of the fold-change is either unavailable or > 0.05, suggesting greater variations. Therefore, it is important to validate the result by using a sufficient number of biological replicates.
TYPE 3: This gene’s average Ct value is either undetermined or > 35 (defined cut-off by default) in both Control and Test Samples, meaning its expression was undetectable. The fold-change calculation is either erroneous or un-interpretable.

## Data for 3D Profile
3D Profile | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
B | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
C | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
D | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
E | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
F | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
G | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A

## Scatter Plot
3
The black line indicates fold changes ((2 ^ (-DCt)) of 1. The pink lines indicate the desired fold-change in gene expression threshold, defined by the user with the entry in cell A1.
The scale of the X and Y axes can be adjusted by double clicking on them and then re-formating using the standard functions of Microsoft Excel. | [5 empty] | Scatter Plot |  |  |  | Scatter Plot
[6 empty] | Well | Symbol | 2-ΔCt |  | Well | Symbol | 2-ΔCt
[8 empty] | Test Sample | Control Sample |  |  | Test Sample | Control Sample
[6 empty] | A01 | hsa-miR-1 | #N/A | #N/A | A01 | hsa-miR-1
[6 empty] | A02 | hsa-miR-16-5p | #N/A | #N/A | A02 | hsa-miR-16-5p
[6 empty] | A03 | hsa-miR-125a-5p | #N/A | #N/A | A03 | hsa-miR-125a-5p
[6 empty] | A04 | hsa-miR-125b-5p | #N/A | #N/A | A04 | hsa-miR-125b-5p
[6 empty] | A05 | hsa-miR-145-5p | #N/A | #N/A | A05 | hsa-miR-145-5p
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | A06 | hsa-miR-149-5p | #N/A | #N/A | A06 | hsa-miR-149-5p
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | A07 | hsa-miR-26a-5p | #N/A | #N/A | A07 | hsa-miR-26a-5p
[6 empty] | A08 | hsa-miR-29b-3p | #N/A | #N/A | A08 | hsa-miR-29b-3p
[6 empty] | A09 | hsa-miR-99b-5p | #N/A | #N/A | A09 | hsa-miR-99b-5p
[6 empty] | A10 | hsa-miR-21-5p | #N/A | #N/A | A10 | hsa-miR-21-5p
[6 empty] | A11 | hsa-miR-212-3p | #N/A | #N/A | A11 | hsa-miR-212-3p
[6 empty] | A12 | hsa-miR-24-3p | #N/A | #N/A | A12 | hsa-miR-24-3p
[6 empty] | B01 | hsa-miR-126-3p | #N/A | #N/A | B01 | hsa-miR-126-3p
[6 empty] | B02 | hsa-miR-142-3p | #N/A | #N/A | B02 | hsa-miR-142-3p
[6 empty] | B03 | hsa-miR-143-3p | #N/A | #N/A | B03 | hsa-miR-143-3p
[6 empty] | B04 | hsa-miR-194-5p | #N/A | #N/A | B04 | hsa-miR-194-5p
[6 empty] | B05 | hsa-miR-195-5p | #N/A | #N/A | B05 | hsa-miR-195-5p
[6 empty] | B06 | hsa-miR-205-5p | #N/A | #N/A | B06 | hsa-miR-205-5p
[6 empty] | B07 | hsa-miR-223-3p | #N/A | #N/A | B07 | hsa-miR-223-3p
[6 empty] | B08 | hsa-miR-32-5p | #N/A | #N/A | B08 | hsa-miR-32-5p
[6 empty] | B09 | hsa-miR-34a-5p | #N/A | #N/A | B09 | hsa-miR-34a-5p
[6 empty] | B10 | hsa-let-7a-5p | #N/A | #N/A | B10 | hsa-let-7a-5p
[6 empty] | B11 | hsa-let-7e-5p | #N/A | #N/A | B11 | hsa-let-7e-5p
[6 empty] | B12 | hsa-let-7f-5p | #N/A | #N/A | B12 | hsa-let-7f-5p
[6 empty] | C01 | hsa-miR-100-5p | #N/A | #N/A | C01 | hsa-miR-100-5p
[6 empty] | C02 | hsa-miR-99a-5p | #N/A | #N/A | C02 | hsa-miR-99a-5p
[6 empty] | C03 | hsa-miR-144-3p | #N/A | #N/A | C03 | hsa-miR-144-3p
[6 empty] | C04 | hsa-miR-34c-5p | #N/A | #N/A | C04 | hsa-miR-34c-5p
[6 empty] | C05 | hsa-miR-193b-3p | #N/A | #N/A | C05 | hsa-miR-193b-3p
[6 empty] | C06 | hsa-miR-429 | #N/A | #N/A | C06 | hsa-miR-429
[6 empty] | C07 | hsa-miR-411-5p | #N/A | #N/A | C07 | hsa-miR-411-5p
[6 empty] | C08 | hsa-miR-220a | #N/A | #N/A | C08 | hsa-miR-220a
[6 empty] | C09 | hsa-miR-203 | #N/A | #N/A | C09 | hsa-miR-203
[6 empty] | C10 | hsa-miR-329 | #N/A | #N/A | C10 | hsa-miR-329
[6 empty] | C11 | hsa-miR-365a-3p | #N/A | #N/A | C11 | hsa-miR-365a-3p
[6 empty] | C12 | hsa-miR-220c | #N/A | #N/A | C12 | hsa-miR-220c
[6 empty] | D01 | hsa-miR-220b | #N/A | #N/A | D01 | hsa-miR-220b
[6 empty] | D02 | hsa-miR-424-5p | #N/A | #N/A | D02 | hsa-miR-424-5p
[6 empty] | D03 | hsa-miR-184 | #N/A | #N/A | D03 | hsa-miR-184
[6 empty] | D04 | hsa-miR-150-5p | #N/A | #N/A | D04 | hsa-miR-150-5p
[6 empty] | D05 | hsa-miR-23b-3p | #N/A | #N/A | D05 | hsa-miR-23b-3p
[6 empty] | D06 | hsa-miR-324-5p | #N/A | #N/A | D06 | hsa-miR-324-5p
[6 empty] | D07 | hsa-miR-412 | #N/A | #N/A | D07 | hsa-miR-412
[6 empty] | D08 | hsa-miR-34c-3p | #N/A | #N/A | D08 | hsa-miR-34c-3p
[6 empty] | D09 | hsa-miR-125a-3p | #N/A | #N/A | D09 | hsa-miR-125a-3p
[6 empty] | D10 | hsa-miR-326 | #N/A | #N/A | D10 | hsa-miR-326
[6 empty] | D11 | hsa-miR-324-3p | #N/A | #N/A | D11 | hsa-miR-324-3p
[6 empty] | D12 | hsa-miR-197-3p | #N/A | #N/A | D12 | hsa-miR-197-3p
[6 empty] | E01 | hsa-let-7d-5p | #N/A | #N/A | E01 | hsa-let-7d-5p
[6 empty] | E02 | hsa-miR-200a-3p | #N/A | #N/A | E02 | hsa-miR-200a-3p
[6 empty] | E03 | hsa-miR-376b | #N/A | #N/A | E03 | hsa-miR-376b
[6 empty] | E04 | hsa-miR-141-3p | #N/A | #N/A | E04 | hsa-miR-141-3p
[6 empty] | E05 | hsa-miR-20a-5p | #N/A | #N/A | E05 | hsa-miR-20a-5p
[6 empty] | E06 | hsa-miR-200b-3p | #N/A | #N/A | E06 | hsa-miR-200b-3p
[6 empty] | E07 | hsa-miR-215 | #N/A | #N/A | E07 | hsa-miR-215
[6 empty] | E08 | hsa-miR-204-5p | #N/A | #N/A | E08 | hsa-miR-204-5p
[6 empty] | E09 | hsa-miR-200c-3p | #N/A | #N/A | E09 | hsa-miR-200c-3p
[6 empty] | E10 | hsa-let-7c | #N/A | #N/A | E10 | hsa-let-7c
[6 empty] | E11 | hsa-let-7b-5p | #N/A | #N/A | E11 | hsa-let-7b-5p
[6 empty] | E12 | hsa-miR-29c-3p | #N/A | #N/A | E12 | hsa-miR-29c-3p
[6 empty] | F01 | hsa-miR-196b-5p | #N/A | #N/A | F01 | hsa-miR-196b-5p
[6 empty] | F02 | hsa-miR-27a-3p | #N/A | #N/A | F02 | hsa-miR-27a-3p
[6 empty] | F03 | hsa-miR-23a-3p | #N/A | #N/A | F03 | hsa-miR-23a-3p
[6 empty] | F04 | hsa-miR-199a-3p | #N/A | #N/A | F04 | hsa-miR-199a-3p
[6 empty] | F05 | hsa-miR-34a-3p | #N/A | #N/A | F05 | hsa-miR-34a-3p
[6 empty] | F06 | hsa-miR-200b-5p | #N/A | #N/A | F06 | hsa-miR-200b-5p
[6 empty] | F07 | hsa-let-7a-3p | #N/A | #N/A | F07 | hsa-let-7a-3p
[6 empty] | F08 | hsa-let-7b-3p | #N/A | #N/A | F08 | hsa-let-7b-3p
[6 empty] | F09 | hsa-let-7c* | #N/A | #N/A | F09 | hsa-let-7c*
[6 empty] | F10 | hsa-let-7d-3p | #N/A | #N/A | F10 | hsa-let-7d-3p
[6 empty] | F11 | hsa-let-7e-3p | #N/A | #N/A | F11 | hsa-let-7e-3p
[6 empty] | F12 | hsa-let-7f-1-3p | #N/A | #N/A | F12 | hsa-let-7f-1-3p
[6 empty] | G01 | hsa-miR-100-3p | #N/A | #N/A | G01 | hsa-miR-100-3p
[6 empty] | G02 | hsa-miR-143-5p | #N/A | #N/A | G02 | hsa-miR-143-5p
[6 empty] | G03 | hsa-miR-145-3p | #N/A | #N/A | G03 | hsa-miR-145-3p
[6 empty] | G04 | hsa-miR-200c-5p | #N/A | #N/A | G04 | hsa-miR-200c-5p
[6 empty] | G05 | hsa-miR-20a-3p | #N/A | #N/A | G05 | hsa-miR-20a-3p
[6 empty] | G06 | hsa-miR-223-5p | #N/A | #N/A | G06 | hsa-miR-223-5p
[6 empty] | G07 | hsa-miR-23a-5p | #N/A | #N/A | G07 | hsa-miR-23a-5p
[6 empty] | G08 | hsa-miR-23b-5p | #N/A | #N/A
[6 empty] | G09 | hsa-miR-24-1-5p | #N/A | #N/A
[6 empty] | G10 | hsa-miR-26a-1-3p | #N/A | #N/A
[6 empty] | G11 | hsa-miR-29c-5p | #N/A | #N/A
[6 empty] | G12 | hsa-miR-424-3p | #N/A | #N/A

## Volcano Plot
Threshold for Fold Difference |  |  | 3 |  | Threshold for p Value of t-test | 0.05
The black line indicates a fold-change in gene expression of 1. The pink lines indicate the desired fold-change in gene expression threshold, as defined by the user in the yellow D1 cell.
The blue line indicates the desired threshold for the p value of the t-test, as defined by user in the yellow I1 cell.
The scale of the X and Y axes can be adjusted by double clicking on them and then re-formating using the standard functions of Microsoft Excel.
[9 empty] | Volcano Plot |  |  |  |  | Volcano Plot
[7 empty] | Well | Symbol | Log2(FC) | p Value | Comments | Well | Symbol | Log2(FC) | p Value
[7 empty] | A01 | hsa-miR-1 | #N/A | #N/A | OKAY | A01 | hsa-miR-1
[7 empty] | A02 | hsa-miR-16-5p | #N/A | #N/A | OKAY | A02 | hsa-miR-16-5p
| -10 | 0.05 |  |  |  |  | A03 | hsa-miR-125a-5p | #N/A | #N/A | OKAY | A03 | hsa-miR-125a-5p
| 10 | 0.05 |  |  |  |  | A04 | hsa-miR-125b-5p | #N/A | #N/A | OKAY | A04 | hsa-miR-125b-5p
[7 empty] | A05 | hsa-miR-145-5p | #N/A | #N/A | OKAY | A05 | hsa-miR-145-5p
| 1 | 1.585 | -1.585 | 0 |  |  | A06 | hsa-miR-149-5p | #N/A | #N/A | OKAY | A06 | hsa-miR-149-5p
| #VALUE! | 1.585 | -1.585 | 0 |  |  | A07 | hsa-miR-26a-5p | #N/A | #N/A | OKAY | A07 | hsa-miR-26a-5p
[7 empty] | A08 | hsa-miR-29b-3p | #N/A | #N/A | OKAY | A08 | hsa-miR-29b-3p
[7 empty] | A09 | hsa-miR-99b-5p | #N/A | #N/A | OKAY | A09 | hsa-miR-99b-5p
[7 empty] | A10 | hsa-miR-21-5p | #N/A | #N/A | OKAY | A10 | hsa-miR-21-5p
[7 empty] | A11 | hsa-miR-212-3p | #N/A | #N/A | OKAY | A11 | hsa-miR-212-3p
[7 empty] | A12 | hsa-miR-24-3p | #N/A | #N/A | OKAY | A12 | hsa-miR-24-3p
[7 empty] | B01 | hsa-miR-126-3p | #N/A | #N/A | OKAY | B01 | hsa-miR-126-3p
[7 empty] | B02 | hsa-miR-142-3p | #N/A | #N/A | OKAY | B02 | hsa-miR-142-3p
[7 empty] | B03 | hsa-miR-143-3p | #N/A | #N/A | OKAY | B03 | hsa-miR-143-3p
[7 empty] | B04 | hsa-miR-194-5p | #N/A | #N/A | OKAY | B04 | hsa-miR-194-5p
[7 empty] | B05 | hsa-miR-195-5p | #N/A | #N/A | OKAY | B05 | hsa-miR-195-5p
[7 empty] | B06 | hsa-miR-205-5p | #N/A | #N/A | OKAY | B06 | hsa-miR-205-5p
[7 empty] | B07 | hsa-miR-223-3p | #N/A | #N/A | OKAY | B07 | hsa-miR-223-3p
[7 empty] | B08 | hsa-miR-32-5p | #N/A | #N/A | OKAY | B08 | hsa-miR-32-5p
[7 empty] | B09 | hsa-miR-34a-5p | #N/A | #N/A | OKAY | B09 | hsa-miR-34a-5p
[7 empty] | B10 | hsa-let-7a-5p | #N/A | #N/A | OKAY | B10 | hsa-let-7a-5p
[7 empty] | B11 | hsa-let-7e-5p | #N/A | #N/A | OKAY | B11 | hsa-let-7e-5p
[7 empty] | B12 | hsa-let-7f-5p | #N/A | #N/A | OKAY | B12 | hsa-let-7f-5p
[7 empty] | C01 | hsa-miR-100-5p | #N/A | #N/A | OKAY | C01 | hsa-miR-100-5p
[7 empty] | C02 | hsa-miR-99a-5p | #N/A | #N/A | OKAY | C02 | hsa-miR-99a-5p
[7 empty] | C03 | hsa-miR-144-3p | #N/A | #N/A | OKAY | C03 | hsa-miR-144-3p
[7 empty] | C04 | hsa-miR-34c-5p | #N/A | #N/A | OKAY | C04 | hsa-miR-34c-5p
[7 empty] | C05 | hsa-miR-193b-3p | #N/A | #N/A | OKAY | C05 | hsa-miR-193b-3p
[7 empty] | C06 | hsa-miR-429 | #N/A | #N/A | OKAY | C06 | hsa-miR-429
[7 empty] | C07 | hsa-miR-411-5p | #N/A | #N/A | OKAY | C07 | hsa-miR-411-5p
[7 empty] | C08 | hsa-miR-220a | #N/A | #N/A | OKAY | C08 | hsa-miR-220a
[7 empty] | C09 | hsa-miR-203 | #N/A | #N/A | OKAY | C09 | hsa-miR-203
[7 empty] | C10 | hsa-miR-329 | #N/A | #N/A | OKAY | C10 | hsa-miR-329
[7 empty] | C11 | hsa-miR-365a-3p | #N/A | #N/A | OKAY | C11 | hsa-miR-365a-3p
[7 empty] | C12 | hsa-miR-220c | #N/A | #N/A | OKAY | C12 | hsa-miR-220c
[7 empty] | D01 | hsa-miR-220b | #N/A | #N/A | OKAY | D01 | hsa-miR-220b
[7 empty] | D02 | hsa-miR-424-5p | #N/A | #N/A | OKAY | D02 | hsa-miR-424-5p
[7 empty] | D03 | hsa-miR-184 | #N/A | #N/A | OKAY | D03 | hsa-miR-184
[7 empty] | D04 | hsa-miR-150-5p | #N/A | #N/A | OKAY | D04 | hsa-miR-150-5p
[7 empty] | D05 | hsa-miR-23b-3p | #N/A | #N/A | OKAY | D05 | hsa-miR-23b-3p
[7 empty] | D06 | hsa-miR-324-5p | #N/A | #N/A | OKAY | D06 | hsa-miR-324-5p
[7 empty] | D07 | hsa-miR-412 | #N/A | #N/A | OKAY | D07 | hsa-miR-412
[7 empty] | D08 | hsa-miR-34c-3p | #N/A | #N/A | OKAY | D08 | hsa-miR-34c-3p
[7 empty] | D09 | hsa-miR-125a-3p | #N/A | #N/A | OKAY | D09 | hsa-miR-125a-3p
[7 empty] | D10 | hsa-miR-326 | #N/A | #N/A | OKAY | D10 | hsa-miR-326
[7 empty] | D11 | hsa-miR-324-3p | #N/A | #N/A | OKAY | D11 | hsa-miR-324-3p
[7 empty] | D12 | hsa-miR-197-3p | #N/A | #N/A | OKAY | D12 | hsa-miR-197-3p
[7 empty] | E01 | hsa-let-7d-5p | #N/A | #N/A | OKAY | E01 | hsa-let-7d-5p
[7 empty] | E02 | hsa-miR-200a-3p | #N/A | #N/A | OKAY | E02 | hsa-miR-200a-3p
[7 empty] | E03 | hsa-miR-376b | #N/A | #N/A | OKAY | E03 | hsa-miR-376b
[7 empty] | E04 | hsa-miR-141-3p | #N/A | #N/A | OKAY | E04 | hsa-miR-141-3p
[7 empty] | E05 | hsa-miR-20a-5p | #N/A | #N/A | OKAY | E05 | hsa-miR-20a-5p
[7 empty] | E06 | hsa-miR-200b-3p | #N/A | #N/A | OKAY | E06 | hsa-miR-200b-3p
[7 empty] | E07 | hsa-miR-215 | #N/A | #N/A | OKAY | E07 | hsa-miR-215
[7 empty] | E08 | hsa-miR-204-5p | #N/A | #N/A | OKAY | E08 | hsa-miR-204-5p
[7 empty] | E09 | hsa-miR-200c-3p | #N/A | #N/A | OKAY | E09 | hsa-miR-200c-3p
[7 empty] | E10 | hsa-let-7c | #N/A | #N/A | OKAY | E10 | hsa-let-7c
[7 empty] | E11 | hsa-let-7b-5p | #N/A | #N/A | OKAY | E11 | hsa-let-7b-5p
[7 empty] | E12 | hsa-miR-29c-3p | #N/A | #N/A | OKAY | E12 | hsa-miR-29c-3p
[7 empty] | F01 | hsa-miR-196b-5p | #N/A | #N/A | OKAY | F01 | hsa-miR-196b-5p
[7 empty] | F02 | hsa-miR-27a-3p | #N/A | #N/A | OKAY | F02 | hsa-miR-27a-3p
[7 empty] | F03 | hsa-miR-23a-3p | #N/A | #N/A | OKAY | F03 | hsa-miR-23a-3p
[7 empty] | F04 | hsa-miR-199a-3p | #N/A | #N/A | OKAY | F04 | hsa-miR-199a-3p
[7 empty] | F05 | hsa-miR-34a-3p | #N/A | #N/A | OKAY | F05 | hsa-miR-34a-3p
[7 empty] | F06 | hsa-miR-200b-5p | #N/A | #N/A | OKAY | F06 | hsa-miR-200b-5p
[7 empty] | F07 | hsa-let-7a-3p | #N/A | #N/A | OKAY | F07 | hsa-let-7a-3p
[7 empty] | F08 | hsa-let-7b-3p | #N/A | #N/A | OKAY | F08 | hsa-let-7b-3p
[7 empty] | F09 | hsa-let-7c* | #N/A | #N/A | OKAY | F09 | hsa-let-7c*
[7 empty] | F10 | hsa-let-7d-3p | #N/A | #N/A | OKAY | F10 | hsa-let-7d-3p
[7 empty] | F11 | hsa-let-7e-3p | #N/A | #N/A | OKAY | F11 | hsa-let-7e-3p
[7 empty] | F12 | hsa-let-7f-1-3p | #N/A | #N/A | OKAY | F12 | hsa-let-7f-1-3p
[7 empty] | G01 | hsa-miR-100-3p | #N/A | #N/A | OKAY | G01 | hsa-miR-100-3p
[7 empty] | G02 | hsa-miR-143-5p | #N/A | #N/A | OKAY | G02 | hsa-miR-143-5p
[7 empty] | G03 | hsa-miR-145-3p | #N/A | #N/A | OKAY | G03 | hsa-miR-145-3p
[7 empty] | G04 | hsa-miR-200c-5p | #N/A | #N/A | OKAY | G04 | hsa-miR-200c-5p
[7 empty] | G05 | hsa-miR-20a-3p | #N/A | #N/A | OKAY | G05 | hsa-miR-20a-3p
[7 empty] | G06 | hsa-miR-223-5p | #N/A | #N/A | OKAY | G06 | hsa-miR-223-5p
[7 empty] | G07 | hsa-miR-23a-5p | #N/A | #N/A | OKAY | G07 | hsa-miR-23a-5p
[7 empty] | G08 | hsa-miR-23b-5p | #N/A | #N/A | OKAY
[7 empty] | G09 | hsa-miR-24-1-5p | #N/A | #N/A | OKAY
[7 empty] | G10 | hsa-miR-26a-1-3p | #N/A | #N/A | OKAY
[7 empty] | G11 | hsa-miR-29c-5p | #N/A | #N/A | OKAY
[7 empty] | G12 | hsa-miR-424-3p | #N/A | #N/A | OKAY

## Calculations
|  | >35 and (N/A or blank) to 35 | [11 empty] | >35 and (N/A or blank) to 35 | [9 empty] | Housekeeping Genes | [21 empty] | Normalized ΔCt (Ct(GOI) - Ave Ct (HKG)) | [19 empty] | AVG Normalized Ct |  |  |  | 2^ -ΔCt (Ct(GOI) - Ave Ct (HKG))
Symbol | Well | Test Sample | [9 empty] | Symbol | Well | Control Sample | [9 empty] | Test Sample | [9 empty] | Control Sample | [9 empty] | Symbol | Well | Test Sample | [9 empty] | Control Sample | [9 empty] | Test Sample | Control Sample | Symbol | Well | Test Sample | [9 empty] | Control Sample
|  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 |  |  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 |  |  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 |  |  |  |  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10
hsa-miR-1 | A01 | [10 empty] | hsa-miR-1 | A01 | [30 empty] | hsa-miR-1 | A01 | [20 empty] | N/A | N/A | hsa-miR-1 | A01
hsa-miR-16-5p | A02 | [10 empty] | hsa-miR-16-5p | A02 | [30 empty] | hsa-miR-16-5p | A02 | [20 empty] | N/A | N/A | hsa-miR-16-5p | A02
hsa-miR-125a-5p | A03 | [10 empty] | hsa-miR-125a-5p | A03 | [30 empty] | hsa-miR-125a-5p | A03 | [20 empty] | N/A | N/A | hsa-miR-125a-5p | A03
hsa-miR-125b-5p | A04 | [10 empty] | hsa-miR-125b-5p | A04 | [30 empty] | hsa-miR-125b-5p | A04 | [20 empty] | N/A | N/A | hsa-miR-125b-5p | A04
hsa-miR-145-5p | A05 | [10 empty] | hsa-miR-145-5p | A05 | [30 empty] | hsa-miR-145-5p | A05 | [20 empty] | N/A | N/A | hsa-miR-145-5p | A05
hsa-miR-149-5p | A06 | [10 empty] | hsa-miR-149-5p | A06 | [30 empty] | hsa-miR-149-5p | A06 | [20 empty] | N/A | N/A | hsa-miR-149-5p | A06
hsa-miR-26a-5p | A07 | [10 empty] | hsa-miR-26a-5p | A07 | [30 empty] | hsa-miR-26a-5p | A07 | [20 empty] | N/A | N/A | hsa-miR-26a-5p | A07
hsa-miR-29b-3p | A08 | [10 empty] | hsa-miR-29b-3p | A08 | [30 empty] | hsa-miR-29b-3p | A08 | [20 empty] | N/A | N/A | hsa-miR-29b-3p | A08
hsa-miR-99b-5p | A09 | [10 empty] | hsa-miR-99b-5p | A09 | [30 empty] | hsa-miR-99b-5p | A09 | [20 empty] | N/A | N/A | hsa-miR-99b-5p | A09
hsa-miR-21-5p | A10 | [10 empty] | hsa-miR-21-5p | A10 | [30 empty] | hsa-miR-21-5p | A10 | [20 empty] | N/A | N/A | hsa-miR-21-5p | A10
hsa-miR-212-3p | A11 | [10 empty] | hsa-miR-212-3p | A11 | [30 empty] | hsa-miR-212-3p | A11 | [20 empty] | N/A | N/A | hsa-miR-212-3p | A11
hsa-miR-24-3p | A12 | [10 empty] | hsa-miR-24-3p | A12 | [30 empty] | hsa-miR-24-3p | A12 | [20 empty] | N/A | N/A | hsa-miR-24-3p | A12
hsa-miR-126-3p | B01 | [10 empty] | hsa-miR-126-3p | B01 | [30 empty] | hsa-miR-126-3p | B01 | [20 empty] | N/A | N/A | hsa-miR-126-3p | A13
hsa-miR-142-3p | B02 | [10 empty] | hsa-miR-142-3p | B02 | [30 empty] | hsa-miR-142-3p | B02 | [20 empty] | N/A | N/A | hsa-miR-142-3p | A14
hsa-miR-143-3p | B03 | [10 empty] | hsa-miR-143-3p | B03 | [30 empty] | hsa-miR-143-3p | B03 | [20 empty] | N/A | N/A | hsa-miR-143-3p | A15
hsa-miR-194-5p | B04 | [10 empty] | hsa-miR-194-5p | B04 | [30 empty] | hsa-miR-194-5p | B04 | [20 empty] | N/A | N/A | hsa-miR-194-5p | A16
hsa-miR-195-5p | B05 | [10 empty] | hsa-miR-195-5p | B05 | [30 empty] | hsa-miR-195-5p | B05 | [20 empty] | N/A | N/A | hsa-miR-195-5p | A17
hsa-miR-205-5p | B06 | [10 empty] | hsa-miR-205-5p | B06 | [30 empty] | hsa-miR-205-5p | B06 | [20 empty] | N/A | N/A | hsa-miR-205-5p | A18
hsa-miR-223-3p | B07 | [10 empty] | hsa-miR-223-3p | B07 | [30 empty] | hsa-miR-223-3p | B07 | [20 empty] | N/A | N/A | hsa-miR-223-3p | A19
hsa-miR-32-5p | B08 | [10 empty] | hsa-miR-32-5p | B08 | [30 empty] | hsa-miR-32-5p | B08 | [20 empty] | N/A | N/A | hsa-miR-32-5p | A20
hsa-miR-34a-5p | B09 | [10 empty] | hsa-miR-34a-5p | B09 | Test Sample exp1: If no housekeeping gene is chosen, the normalization factor is zero (0). | hsa-miR-34a-5p | B09 | [20 empty] | N/A | N/A | hsa-miR-34a-5p | A21
hsa-let-7a-5p | B10 | [10 empty] | hsa-let-7a-5p | B10 | Test Sample exp1: Average; Control Sample exp1: Average | hsa-let-7a-5p | B10 | [20 empty] | N/A | N/A | hsa-let-7a-5p | A22
hsa-let-7e-5p | B11 | [10 empty] | hsa-let-7e-5p | B11 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | hsa-let-7e-5p | B11 | [20 empty] | N/A | N/A | hsa-let-7e-5p | A23
hsa-let-7f-5p | B12 | [10 empty] | hsa-let-7f-5p | B12 | [30 empty] | hsa-let-7f-5p | B12 | [20 empty] | N/A | N/A | hsa-let-7f-5p | A24
hsa-miR-100-5p | C01 | [10 empty] | hsa-miR-100-5p | C01 | [30 empty] | hsa-miR-100-5p | C01 | [20 empty] | N/A | N/A | hsa-miR-100-5p | A25
hsa-miR-99a-5p | C02 | [10 empty] | hsa-miR-99a-5p | C02 | [30 empty] | hsa-miR-99a-5p | C02 | [20 empty] | N/A | N/A | hsa-miR-99a-5p | A26
hsa-miR-144-3p | C03 | [10 empty] | hsa-miR-144-3p | C03 | [30 empty] | hsa-miR-144-3p | C03 | [20 empty] | N/A | N/A | hsa-miR-144-3p | A27
hsa-miR-34c-5p | C04 | [10 empty] | hsa-miR-34c-5p | C04 | [30 empty] | hsa-miR-34c-5p | C04 | [20 empty] | N/A | N/A | hsa-miR-34c-5p | A28
hsa-miR-193b-3p | C05 | [10 empty] | hsa-miR-193b-3p | C05 | [30 empty] | hsa-miR-193b-3p | C05 | [20 empty] | N/A | N/A | hsa-miR-193b-3p | A29
hsa-miR-429 | C06 | [10 empty] | hsa-miR-429 | C06 | [30 empty] | hsa-miR-429 | C06 | [20 empty] | N/A | N/A | hsa-miR-429 | A30
hsa-miR-411-5p | C07 | [10 empty] | hsa-miR-411-5p | C07 | [30 empty] | hsa-miR-411-5p | C07 | [20 empty] | N/A | N/A | hsa-miR-411-5p | A31
hsa-miR-220a | C08 | [10 empty] | hsa-miR-220a | C08 | [30 empty] | hsa-miR-220a | C08 | [20 empty] | N/A | N/A | hsa-miR-220a | A32
hsa-miR-203 | C09 | [10 empty] | hsa-miR-203 | C09 | [30 empty] | hsa-miR-203 | C09 | [20 empty] | N/A | N/A | hsa-miR-203 | A33
hsa-miR-329 | C10 | [10 empty] | hsa-miR-329 | C10 | [30 empty] | hsa-miR-329 | C10 | [20 empty] | N/A | N/A | hsa-miR-329 | A34
hsa-miR-365a-3p | C11 | [10 empty] | hsa-miR-365a-3p | C11 | [30 empty] | hsa-miR-365a-3p | C11 | [20 empty] | N/A | N/A | hsa-miR-365a-3p | A35
hsa-miR-220c | C12 | [10 empty] | hsa-miR-220c | C12 | [30 empty] | hsa-miR-220c | C12 | [20 empty] | N/A | N/A | hsa-miR-220c | A36
hsa-miR-220b | D01 | [10 empty] | hsa-miR-220b | D01 | [30 empty] | hsa-miR-220b | D01 | [20 empty] | N/A | N/A | hsa-miR-220b | A37
hsa-miR-424-5p | D02 | [10 empty] | hsa-miR-424-5p | D02 | [30 empty] | hsa-miR-424-5p | D02 | [20 empty] | N/A | N/A | hsa-miR-424-5p | A38
hsa-miR-184 | D03 | [10 empty] | hsa-miR-184 | D03 | [30 empty] | hsa-miR-184 | D03 | [20 empty] | N/A | N/A | hsa-miR-184 | A39
hsa-miR-150-5p | D04 | [10 empty] | hsa-miR-150-5p | D04 | [30 empty] | hsa-miR-150-5p | D04 | [20 empty] | N/A | N/A | hsa-miR-150-5p | A40
hsa-miR-23b-3p | D05 | [10 empty] | hsa-miR-23b-3p | D05 | [30 empty] | hsa-miR-23b-3p | D05 | [20 empty] | N/A | N/A | hsa-miR-23b-3p | A41
hsa-miR-324-5p | D06 | [10 empty] | hsa-miR-324-5p | D06 | [30 empty] | hsa-miR-324-5p | D06 | [20 empty] | N/A | N/A | hsa-miR-324-5p | A42
hsa-miR-412 | D07 | [10 empty] | hsa-miR-412 | D07 | [30 empty] | hsa-miR-412 | D07 | [20 empty] | N/A | N/A | hsa-miR-412 | A43
hsa-miR-34c-3p | D08 | [10 empty] | hsa-miR-34c-3p | D08 | [30 empty] | hsa-miR-34c-3p | D08 | [20 empty] | N/A | N/A | hsa-miR-34c-3p | A44
hsa-miR-125a-3p | D09 | [10 empty] | hsa-miR-125a-3p | D09 | [30 empty] | hsa-miR-125a-3p | D09 | [20 empty] | N/A | N/A | hsa-miR-125a-3p | A45
hsa-miR-326 | D10 | [10 empty] | hsa-miR-326 | D10 | [30 empty] | hsa-miR-326 | D10 | [20 empty] | N/A | N/A | hsa-miR-326 | A46
hsa-miR-324-3p | D11 | [10 empty] | hsa-miR-324-3p | D11 | [30 empty] | hsa-miR-324-3p | D11 | [20 empty] | N/A | N/A | hsa-miR-324-3p | A47
hsa-miR-197-3p | D12 | [10 empty] | hsa-miR-197-3p | D12 | [30 empty] | hsa-miR-197-3p | D12 | [20 empty] | N/A | N/A | hsa-miR-197-3p | A48
hsa-let-7d-5p | E01 | [10 empty] | hsa-let-7d-5p | E01 | [30 empty] | hsa-let-7d-5p | E01 | [20 empty] | N/A | N/A | hsa-let-7d-5p | A49
hsa-miR-200a-3p | E02 | [10 empty] | hsa-miR-200a-3p | E02 | [30 empty] | hsa-miR-200a-3p | E02 | [20 empty] | N/A | N/A | hsa-miR-200a-3p | A50
hsa-miR-376b | E03 | [10 empty] | hsa-miR-376b | E03 | [30 empty] | hsa-miR-376b | E03 | [20 empty] | N/A | N/A | hsa-miR-376b | A51
hsa-miR-141-3p | E04 | [10 empty] | hsa-miR-141-3p | E04 | [30 empty] | hsa-miR-141-3p | E04 | [20 empty] | N/A | N/A | hsa-miR-141-3p | A52
hsa-miR-20a-5p | E05 | [10 empty] | hsa-miR-20a-5p | E05 | [30 empty] | hsa-miR-20a-5p | E05 | [20 empty] | N/A | N/A | hsa-miR-20a-5p | A53
hsa-miR-200b-3p | E06 | [10 empty] | hsa-miR-200b-3p | E06 | [30 empty] | hsa-miR-200b-3p | E06 | [20 empty] | N/A | N/A | hsa-miR-200b-3p | A54
hsa-miR-215 | E07 | [10 empty] | hsa-miR-215 | E07 | [30 empty] | hsa-miR-215 | E07 | [20 empty] | N/A | N/A | hsa-miR-215 | A55
hsa-miR-204-5p | E08 | [10 empty] | hsa-miR-204-5p | E08 | [30 empty] | hsa-miR-204-5p | E08 | [20 empty] | N/A | N/A | hsa-miR-204-5p | A56
hsa-miR-200c-3p | E09 | [10 empty] | hsa-miR-200c-3p | E09 | [30 empty] | hsa-miR-200c-3p | E09 | [20 empty] | N/A | N/A | hsa-miR-200c-3p | A57
hsa-let-7c | E10 | [10 empty] | hsa-let-7c | E10 | [30 empty] | hsa-let-7c | E10 | [20 empty] | N/A | N/A | hsa-let-7c | A58
hsa-let-7b-5p | E11 | [10 empty] | hsa-let-7b-5p | E11 | [30 empty] | hsa-let-7b-5p | E11 | [20 empty] | N/A | N/A | hsa-let-7b-5p | A59
hsa-miR-29c-3p | E12 | [10 empty] | hsa-miR-29c-3p | E12 | [30 empty] | hsa-miR-29c-3p | E12 | [20 empty] | N/A | N/A | hsa-miR-29c-3p | A60
hsa-miR-196b-5p | F01 | [10 empty] | hsa-miR-196b-5p | F01 | [30 empty] | hsa-miR-196b-5p | F01 | [20 empty] | N/A | N/A | hsa-miR-196b-5p | A61
hsa-miR-27a-3p | F02 | [10 empty] | hsa-miR-27a-3p | F02 | [30 empty] | hsa-miR-27a-3p | F02 | [20 empty] | N/A | N/A | hsa-miR-27a-3p | A62
hsa-miR-23a-3p | F03 | [10 empty] | hsa-miR-23a-3p | F03 | [30 empty] | hsa-miR-23a-3p | F03 | [20 empty] | N/A | N/A | hsa-miR-23a-3p | A63
hsa-miR-199a-3p | F04 | [10 empty] | hsa-miR-199a-3p | F04 | [30 empty] | hsa-miR-199a-3p | F04 | [20 empty] | N/A | N/A | hsa-miR-199a-3p | A64
hsa-miR-34a-3p | F05 | [10 empty] | hsa-miR-34a-3p | F05 | [30 empty] | hsa-miR-34a-3p | F05 | [20 empty] | N/A | N/A | hsa-miR-34a-3p | A65
hsa-miR-200b-5p | F06 | [10 empty] | hsa-miR-200b-5p | F06 | [30 empty] | hsa-miR-200b-5p | F06 | [20 empty] | N/A | N/A | hsa-miR-200b-5p | A66
hsa-let-7a-3p | F07 | [10 empty] | hsa-let-7a-3p | F07 | [30 empty] | hsa-let-7a-3p | F07 | [20 empty] | N/A | N/A | hsa-let-7a-3p | A67
hsa-let-7b-3p | F08 | [10 empty] | hsa-let-7b-3p | F08 | [30 empty] | hsa-let-7b-3p | F08 | [20 empty] | N/A | N/A | hsa-let-7b-3p | A68
hsa-let-7c* | F09 | [10 empty] | hsa-let-7c* | F09 | [30 empty] | hsa-let-7c* | F09 | [20 empty] | N/A | N/A | hsa-let-7c* | A69
hsa-let-7d-3p | F10 | [10 empty] | hsa-let-7d-3p | F10 | [30 empty] | hsa-let-7d-3p | F10 | [20 empty] | N/A | N/A | hsa-let-7d-3p | A70
hsa-let-7e-3p | F11 | [10 empty] | hsa-let-7e-3p | F11 | [30 empty] | hsa-let-7e-3p | F11 | [20 empty] | N/A | N/A | hsa-let-7e-3p | A71
hsa-let-7f-1-3p | F12 | [10 empty] | hsa-let-7f-1-3p | F12 | [30 empty] | hsa-let-7f-1-3p | F12 | [20 empty] | N/A | N/A | hsa-let-7f-1-3p | A72
hsa-miR-100-3p | G01 | [10 empty] | hsa-miR-100-3p | G01 | [30 empty] | hsa-miR-100-3p | G01 | [20 empty] | N/A | N/A | hsa-miR-100-3p | A73
hsa-miR-143-5p | G02 | [10 empty] | hsa-miR-143-5p | G02 | [30 empty] | hsa-miR-143-5p | G02 | [20 empty] | N/A | N/A | hsa-miR-143-5p | A74
hsa-miR-145-3p | G03 | [10 empty] | hsa-miR-145-3p | G03 | [30 empty] | hsa-miR-145-3p | G03 | [20 empty] | N/A | N/A | hsa-miR-145-3p | A75
hsa-miR-200c-5p | G04 | [10 empty] | hsa-miR-200c-5p | G04 | [30 empty] | hsa-miR-200c-5p | G04 | [20 empty] | N/A | N/A | hsa-miR-200c-5p | A76
hsa-miR-20a-3p | G05 | [10 empty] | hsa-miR-20a-3p | G05 | [30 empty] | hsa-miR-20a-3p | G05 | [20 empty] | N/A | N/A | hsa-miR-20a-3p | A77
hsa-miR-223-5p | G06 | [10 empty] | hsa-miR-223-5p | G06 | [30 empty] | hsa-miR-223-5p | G06 | [20 empty] | N/A | N/A | hsa-miR-223-5p | A78
hsa-miR-23a-5p | G07 | [10 empty] | hsa-miR-23a-5p | G07 | [30 empty] | hsa-miR-23a-5p | G07 | [20 empty] | N/A | N/A | hsa-miR-23a-5p | A79
hsa-miR-23b-5p | G08 | [10 empty] | hsa-miR-23b-5p | G08 | [31 empty] | G08 | [20 empty] | N/A | N/A |  | A80
hsa-miR-24-1-5p | G09 | [10 empty] | hsa-miR-24-1-5p | G09 | [31 empty] | G09 | [20 empty] | N/A | N/A |  | A81
hsa-miR-26a-1-3p | G10 | [10 empty] | hsa-miR-26a-1-3p | G10 | [31 empty] | G10 | [20 empty] | N/A | N/A |  | A82
hsa-miR-29c-5p | G11 | [10 empty] | hsa-miR-29c-5p | G11 | [31 empty] | G11 | [20 empty] | N/A | N/A |  | A83
hsa-miR-424-3p | G12 | [10 empty] | hsa-miR-424-3p | G12 | [31 empty] | G12 | [20 empty] | N/A | N/A |  | A84
NC | H01 | [10 empty] | NC | H01 | [30 empty] | NC | H01 | [20 empty] | N/A | N/A | NC | A85
NC | H02 | [10 empty] | NC | H02 | [30 empty] | NC | H02 | [20 empty] | N/A | N/A | NC | A86
HK1 | H03 | [10 empty] | HK1 | H03 | [30 empty] | HK1 | H03 | [20 empty] | N/A | N/A | HK1 | A87
HK2 | H04 | [10 empty] | HK2 | H04 | [30 empty] | HK2 | H04 | [20 empty] | N/A | N/A | HK2 | A88
HK3 | H05 | [10 empty] | HK3 | H05 | [30 empty] | HK3 | H05 | [20 empty] | N/A | N/A | HK3 | A89
HK4 | H06 | [10 empty] | HK4 | H06 | [30 empty] | HK4 | H06 | [20 empty] | N/A | N/A | HK4 | A90
HK5 | H07 | [10 empty] | HK5 | H07 | [30 empty] | HK5 | H07 | [20 empty] | N/A | N/A | HK5 | A91
HK6 | H08 | [10 empty] | HK6 | H08 | [30 empty] | HK6 | H08 | [20 empty] | N/A | N/A | HK6 | A92
RT | H09 | [10 empty] | RT | H09 | [30 empty] | RT | H09 | [20 empty] | N/A | N/A | RT | A93
RT | H10 | [10 empty] | RT | H10 | [30 empty] | RT | H10 | [20 empty] | N/A | N/A | RT | A94
PCR | H11 | [10 empty] | PCR | H11 | [30 empty] | PCR | H11 | [20 empty] | N/A | N/A | PCR | A95
PCR | H12 | [10 empty] | PCR | H12 | [30 empty] | PCR | H12 | [20 empty] | N/A | N/A | PCR | A96